# GENERAL CONTENT OF AN EMERGENCY PLAN

- What steps the landlord has taken to explain fire evacuation and detection procedures to a new tenant:

      - What the fire alarm sounds like.

      - Where extinguisher and fire blankets are located.

      - What the CO alarm sounds like.

      - Where the fire alarm points are.

      - Where CO detectors are.

      - How to recognise the fire alarm test circuits are active on the fire detection control panel.

      - Where the recognised assembly point for the property is.

- Advise tenants on the general principles to remember during a fire, such as:

      - Leave the building as quickly as possible.

      - Touch doors before opening them and don’t open if they feel hot.

      - Stay low or crawl to avoid inhalation.

      - On hearing alarm, alert others.

      - Do not stop to collect possessions and do not re-enter the building.

      - Inform Fire and Rescue of the number of occupants of the property and whether or not they are accounted for.

- How to contact emergency services (particularly for foreign students/tenants).

- How to contact the landlord or their agent.

- Instruct tenants on the safe use of all gas appliances.

- Advise tenants of their obligation not to tamper with fire doors, self closing devices and fire detection systems.

- The emergency telephone numbers for the public utilities (gas, electric, water) and where all shut-off valves are located.

- An Emergency Plan folder located in the property should also contain all current certificates (gas, electric, licence and licence conditions) together with the Fire Logbook.